## Sheet1
CONTRA COSTA COLLEGE
FIVE-YEAR SCHEDULED MAINTENANCE PLAN
2020 - 2021
2020-09-14
PROJECT DESCRIPTION | SAFETY | AGE | TYPE | BUDGET | 2020-2021 | 2021-2022 | 2022-2023 | 2023-2024 | 2024-2025
| CONCERN | LIFE EXPECTANCY
Applied Arts Building HVAC Upgrades |  | 1982 -25 YEARS | Exterior | Sched Maint | 3263810
Total |  |  |  |  | 3263810
Upgrade Fire Alarm in Art Bldg., ELC & PAC | X | 1971 - 15 YEARS | Mechanical | Sched Maint |  | 3000000
Install New Sidewalk along Campus Drive for ELC | X | PROPOSED | Exterior | Sched Maint |  | 250000
Resurface Swimming Pool Deck | X | 1970 - 25 YEARS | Exterior | Sched Maint |  | 3000000
Replace the Art Building Roof |  | 1971 - 25 YEARS | Roof | Sched Maint |  | 1000000
Replace HVAC in Art Bldg. |  | 1971 - 25 YEARS | Mechanical | Sched Maint |  | 1500000
Total | [5 empty] | 8750000
Replace Artificial Turf Football Field | X | 2007 - 12 YEARS | Exterior | Sched Maint |  |  | 2000000
Replace Baseball Bleachers |  | 1982 - 25 YEARS | Exterior | Sched Maint |  |  | 750000
Football Field Press Box Renovation |  | 1982 - 25 YEARS | Exterior | Sched Maint |  |  | 150000
Replace PAC Roof |  | 1980- 25 YEARS | Roof | Sched Maint |  |  | 1500000
Total | [6 empty] | 4400000
Library HVAC Replacement |  | 1963 - 25 YEARS | Mechanical | Sched Maint |  |  |  | 2500000
Resurface Mission Bell Drive |  | 1996 - 20 YEARS | Exterior | Sched Maint |  |  |  | 1500000
Total | [7 empty] | 4000000
Replace Floor Coverings |  | AS NEEDED | Interior | Sched Maint |  |  |  |  | 200000
Re-surface Parking Lots |  | 2007 - 20 YEARS | Exterior | Sched Maint |  |  |  |  | 1500000
Renovate landscape on the hill along side Campus Drive |  | PROPOSED | Exterior | Sched Maint |  |  |  |  | 150000
Total | [8 empty] | 1850000
Totals |  |  |  |  | 3263810 | 8750000 | 4400000 | 4000000 | 1850000